Opis przedmiotu zamówienia

Wymagany jest układ mikroprzepływowy składający się z następujących elementów:

- 1x mikroprzepływowy regulator przepływu zawierający co najmniej 4 kanały ciśnieniowe, które są w stanie niezależnie zapewnić ciśnienie 0-2000 mbar przy wykorzystaniu zewnętrznego źródła ciśnienia (najlepiej poprzez butlę z gazem). Ze względu na lepszy czas reakcji i rozdzielczość ciśnienia preferowane są sterowniki mikroprzepływowe zawierające sterowniki piezoelektryczne.

- 2 cyfrowe regulatory natężenia przepływu zapewniające szeroki zakres kompatybilności chemicznej.

- 1x mikroprzepływowy zawór recyrkulacyjny, który może zapewnić przepływ dwukierunkowy, minimalną objętość martwą i zdolny do recyrkulacji płynów w zamkniętych pętlach.

- 2x pułapki bąbelkowe do mikroprzepływów.

- 2x zbiorniki mikroprzepływowe o pojemności 50 ml i 2 porty.

- 2x zbiorniki mikroprzepływowe o pojemności 100 ml i 2 porty.

- Oprogramowanie komputerowe umożliwiające jednoczesne kontrolowanie/rejestrowanie natężenia przepływu i ciśnienia w kanałach mikroprzepływowych. Oprogramowanie zapewniające łatwy w obsłudze interfejs użytkownika.

A microfluidic system involving following components are required:

- 1x Microfluidic flow controller incorporating at least 4 pressure channels that are capable of providing 0-2000 mbar pressure independently by utilizing an external pressure source (preferably through a gas cylinder). The microfluidic controllers incorporating piezoelectric controllers are preferable for improved response time and pressure resolution.

- 2x thermal base, digital flow rate controllers providing a broad range of chemical compatibility.

- 1x microfluidic recirculation valve that can provide bi-directional flow, minimum dead volume and capable of recirculation of fluids in closed loops.

- 2x bubble traps for microfluidics.

- 2x  microfluidic reservoirs providing 50 ml volume and 2 ports.

- 2x  microfluidic reservoirs providing 100 ml volume and 2 ports.

- A computer software capable of simultaneous controlling/recording flow rate and pressure in microfluidic channels. A software providing an easy-to-operate user interface along with SDK sources. .